## Sheet1
Risk Control Form
Name |  |  |  | Company |  |  |  | Event Name
Gary Padden / Steve Curtis |  |  |  | Z-arts |  |  |  | General Use
Risk |  | Existing Risk Controls | Description of |  | Residual Risk |  |  | Risk Level After Further
|  |  | Further Risk Controls |  | with further control measures in place |  |  | Risk Controls
Required
Building |  |  |  |  | Likelihood | x Consequence | Risk Level
Slips Trips and Falls |  | All areas are regularly | Duty Manager & Housekeeper check
Visitors to the building could |  | monitored to ensure | all public areas regularly |  | 2 | 2 | 4 | Acceptable
injure themselves tripping over hazards |  | there are no trip hazards | and prior to events.
or slipping on spillages |  | or spillages | Mats at all entrances.
Fire |  | Staff trained in Fire Evacuation | Visitors to be informed of fire |  | 1 | 4 | 4 | Acceptable
|  | procedures. Fire Evac routes | evacuation procedures.
Fire evac routes clearly marked and kept clear.
Sweeper System covers all occupied areas.
Full external FRA carried out annually and acted upon.
Electric Shocks |  | All electrical equipment is | Full wiring check of building to |  | 1 | 4 | 4 | Acceptable
Visitors could receive electric shocks |  | PAT tested annually or more | completed by qualified
from faulty equipment |  | frequently as required. | electricians every four years.
Current- Jan 2025
THEATRE |  |  |  |  | Likelihood | x Consequence | Risk Level
Trailing cables for equipment |  | All cables to be taped down. | Tech staff will add cable mats where required. |  | 2 | 2 | 4 | Acceptable
|  | House Lights or Working Lights turned on as required and personnel warned of blackouts. | Tech staff to turn lights on as and when required. Blackouts will always be 'called'.
Sometimes dark in Theatre |  |  |  |  | 2 | 2 | 4 | Acceptable
Seating unit floor and steps permanently lit.
Stage sets and props blocking exits. |  | Check all exits are clear. | Tech staff to maintain clear exits. |  | 2 | 2 | 4 | Acceptable
Electrical equipment |  | Tech staff to maintain equipment and all equipment subject to visual inspection before use. | Equipment to be PAT tested annually |  | 2 | 2 | 4 | Acceptable
or more frequently as required
Activity
Specific activites subject to specific RAs as and when required
Date: | 2018-02-01
Reviewed: Steve Curtis | 2025-05-21
Sheet 8 of 9